Please provide the following information to help us provide a system that exactly suits your requirements.

Please don’t hesitate to contact us if you have any questions or if you need help filling out this questionnaire.

| CUSTOMER: Company Contact name Address City, State, Zip code | Email: | your email address |
| --- | --- | --- |
|  | Phone: | your phone number |
|  | Date: | Date |

| Industry: |  | Others *1 |
| --- | --- | --- |
| Type of fuel: |  | Others *2 |
| Source of emission: |  | Purpose of analyzer: |

| Stack details: | steel brick N/A | insulation thickness: inside – Ø inside – AxB x |
| --- | --- | --- |

| Sampling point details: | outdoor indoor hazardous zone | ambient temperature | min. max. |
| --- | --- | --- | --- |
|  |  | on site power supply | V/ Hz no |
|  |  | required sampling tube insertion depth |  |

| Analyzer measuring location | outdoor indoor confined space | ambient temperature | min. max. |
| --- | --- | --- | --- |
|  |  | distance probe to analyzer |  |
|  |  | Active ventilation needed? |  |

| Typical flue gas details (at sampling point under normal operating conditions) | Temperature |  | °F |  | CO |  | ppm |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | O2 |  | % |  | SO2 |  | ppm |
|  | CO2 |  | % |  | CH4 |  | ppm |
|  | NO |  | ppm |  | C3H8 |  | ppm |
|  | NO2 |  | ppm |  | N2O |  | ppm |
|  | H2 |  | ppm |  | H2S |  | ppm |
|  | DUST |  | mg/m3 |  | Particle size |  | µm |
|  | Humidity |  | % |  | Flow velocity |  | m/s |
|  | Pressure |  |  |  | HF |  | ppm |
|  | HCL |  | ppm |  |  |  |  |

| Monitored flue gas components | O2 | range 0 to % | CxHy (as C3H8) | range 0 to |
| --- | --- | --- | --- | --- |
|  | CO2 | range 0 to % | CxHy (as CH4) | range 0 to |
|  | CO | range 0 to | Total HC | range 0 to |
|  | NO | range 0 to | Gas flow | range 0 to m/s |
|  | NO2 | range 0 to | Gas temperature | range 0 to |
|  | N2O | range 0 to | H2S | range 0 to |
|  | SO2 | range 0 to | H2 | range 0 to |

| Select your measurement OPTIONS | O2 Measurement |  | Range extension CO *1 |  |
| --- | --- | --- | --- | --- |
|  | Special calibration and software for "fast mode" gas analysis |  | Acid dosage APE-box |  |

| Select your communication OPTIONS | USB to Wi-Fi converter |  | MRU4win - "full" version software |  |
| --- | --- | --- | --- | --- |
|  | USB to Bluetooth converter set |  | WLAN printer with Li-Ion battery, |  |
|  | RS485 interface with Modbus RTU protocol |  |  |  |

| Select your transportation OPTIONS | Robust aluminum frame transport case |  | Add-on cost for IP42 soft padded nylon case, for measurements even in rainy conditions, |  |
| --- | --- | --- | --- | --- |
|  | Rugged "Pelican" style transport case |  | Ni-MH battery, 13,2V / 2A / 25W , for trouble-free air transportation |  |

| Other options | Stack gas flow velocity measurement |  | Combustion air temperature probe |  |
| --- | --- | --- | --- | --- |
|  | Connection cable to Pitot tube |  |  |  |

Please email this questionnaire to:  INFO@mru-instruments.com